## Facilities
FACILITIES | YEAR IN SERVICE | USEFUL LIFE (years) | CONDITION | Original PURCHASE PRICE | FY'17 | FY'18 | FY'19 | FY'20 | FY'21 | FY'22 | FY' 23 | FY' 24 | FY'25 | FY'26 | TOTAL | NOTES
Boiler Building |  | 50 | Unusable |  | FY'25: 200000 | 200000 | Cold storage/Demo
Stadium Lighting | 2013 | 25 | Excellent | 275000 | [10 empty] | 0
Gym Floor Refinishing (Wood floors) | 2013 | 10 | Excellent | 11000 | FY'25: 15000 | 15000
Gym 1 Bleachers (Started FY17) | 2004 | 15 | Good | 20105 | FY'17: 20105 | 0
Replace Two Lower Artificial Turf | 2017 | 10 | Excellent | 779588 | FY'17: 779588 | 0
Replace Community Field Turf | 2004 | 10 | Poor |  | FY'22: 337500 | 337500 | *revised quote 10/6/20
Artificial turf field chainlink fence | 2004 | 15 | Poor |  | FY'22: 135000 | 135000 | *includes civil engineer
Track Resurfacing | 2016 | 10 | Excellent | 115750 | [10 empty] | 0
Tennis Court Repair & Resurfacing | 2004 | 2019-10-15 | Poor |  | FY'22: 45000 | 45000 | *revised quote 10/6/20
Waste Water Treatment Facility | 2004 | 30 | Good | [11 empty] | 0
HVAC Control Systems | 2014 | 15-20 | Excellent | 109884 | [10 empty] | 0
HVAC (heat pumps, roof top units) | 2004 | 20-25 | Good | [11 empty] | 0
Cooling Towers (major maintenance) | 2018 | 15 | Excellent | 72450 | FY'18: 72450 | 0
Water Heaters (2) | 2004 | 15-20 | Excellent | $57,500 x 2 | FY'19: 57500 | 0
Roof Systems (Warranty expires 2019) | 2004 | 20 | Okay |  | FY'26: 4000000 | 4000000
Electrical (equip, distribution, Gensets) | 2004 | 25-30 | Good | [11 empty] | 0
Fire Alarm System (panels/control) | 2015 | 15-20 | Excellent | 119200 | [10 empty] | 0
Plumbing (piping, fixtures) | 2004 | 30 | Good | [11 empty] | 0
Elevators (2) | 2004 | 20 | Good | [11 empty] | 0
CCTV System (video surveillance) | 2017 | 10 | Excellent | 200000 | FY'19: 55000 | 0
Phone System Upgrade | 2018 | 15-20 | Excellent | 98221.4 | FY'19: 80000 | 0
Gym 4 (rubber floor replacement) | 2018 | 15 | Excellent |  | FY'18: 53988 | 0
Replacement Orchestra Pit Filler | 2016 | 20+ | Excellent | [11 empty] | 0
Masonary (Exterior) | 2004 | 15-20 | Poor | 55000 | FY' 24: 200000 | 200000
Building Envelope (walls,windows,doors) | 2004 | 20+ | Good | [11 empty] | 0
Interior Finishes (walls, floors, ceilings) | 2004 | 20+ | Good |  | FY' 23: 80000 | 80000 | Carpeting House Offices/Staff offices
Public Address System | 2020 | 15-20 | Excellent | Grant FY20 | FY'20: 59000 | 0
Key Card Access | 2004 | 10+ | Good | [11 empty] | 0
420 Lincoln Road (renovate) |  | 20+ | Unusable |  | FY'20: 850000 | 0
SUBTOTAL- FACILITIES |  |  |  |  | 799693 | 126438 | 192500 | 909000 | 0 | 517500 | 80000 | 200000 | 215000 | 4000000 | 5012500
TECHNOLOGY |  |  |  |  | FY'21: 80000
No request for FY22 |  |  |  |  | FY'22: 0 | 0
Replace Firewall (renewal date 2023) |  |  |  |  | FY' 23: 50000 | 50000
Replace Camera System | 2014 | 10 | Okay |  | FY' 24: 150000 | 150000
WiFi Network (upgrade every 5yrs) | 2014 | 5 | Good |  | FY'25: 200000 | 200000
21 Wiring Closets IDF's (warranty expiring) |  |  |  |  | FY'26: 300000 | 300000
ALL DEPT REQUESTS TOTAL |  |  |  |  | FY'22: 603500; FY' 23: 275000; FY' 24: 395000; FY'25: 480000; FY'26: 4300000 | 6138500

## Vehicles
| ATHLETICS | YEAR IN SERVICE |  | USEFUL LIFE (years) | MILEAGE AS OF 10/8/2020 | CONDITION | PURCHASE PRICE | FY'17 | FY'18 | FY'19 | FY'20 | FY'21 | FY'22 | FY'23 | FY'24 | FY'25 | FY'26 | TOTAL
| Chevrolet Express Van-15 passenger | 2011 |  | 10 | 38690 | Good | 40475 | FY'21: 45000 | 45000
| Chevrolet Express Van-15 passenger | 2012 |  | 10 | 45495 | Good | 39399 | FY'17: 45000; FY'22: 45000 | 45000 | Trade-In
| Chevrolet Express Van-15 passenger | 2013 |  | 10 | 35579 | Good | 40475 | FY'23: 45000 | 45000
| Chevrolet Express Van-15 passenger | 2014 |  | 10 | 31473 | Good | 46070 | FY'24: 45000 | 45000
| SUBTOTAL- ATHLETICS | [6 empty] | 45000 | 0 | 0 | 0 | 45000 | 45000 | 45000 | 45000 | 0 | 0 | 180000
| STUDENT SERVICES | YEAR IN SERVICE |  | USEFUL LIFE (years) | MILEAGE AS OF 10/8/2020 | CONDITION | PURCHASE PRICE | FY'17 | FY'18 | FY'19 | FY'20 | FY'21 | FY'22 | FY'23 | FY'24 | FY'25 |  | TOTAL
| Ford Transit Van | 2018 |  | 10 | 13997 | Excellent | 32254 | [10 empty] | 0
| SUBTOTAL- STUDENT SERVICES | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BUILDINGS & GROUNDS | YEAR IN SERVICE |  | USEFUL LIFE (years) | MILEAGE AS OF 10/8/2020 | CONDITION | PURCHASE PRICE | FY'17 | FY'18 | FY'19 | FY'20 | FY'21 | FY'22 | FY'23 | FY'24 | FY'25 |  | 40000
| Ford F350 Pickup Truck | 2010 | * | 10 | 27140 | Okay | 34639 | FY'21: 40000 |  | 40000
| Ford F350 Pickup Truck | 2012 | * | 10 | 32145 | Good | 31055 | FY'23: 49000 |  | 49000
| Ford F450 Dump Truck | 2015 | * | 10 | 4718 | Excellent | 59193 | FY'25: 65000 |  | 65000
| SUBTOTAL- B & G | [6 empty] | 0 | 0 | 0 | 0 | 40000 | 0 | 49000 | 0 | 65000 |  | 154000
| TOTAL VEHICLES | [6 empty] | 45000 | 0 | 0 | 0 | 85000 | 45000 | 94000 | 45000 | 65000 | 0 | 334000
1
2
3

## Equipment
BUILDINGS & GROUNDS | YEAR IN SERVICE | USEFUL LIFE (years) | CONDITION | PURCHASE PRICE | FY'17 | FY'18 | FY'19 | FY'20 | FY'21 | FY'22 | FY' 23 | FY' 24 | FY' 25 | FY' 26 | TOTAL
72” Hustler Super Z Mower | 2013 | 10+ | Good | 17000 | FY' 23: 17000 | 17000
72” Hustler Super Z Mower | 2017 | 10+ | Good | 17000 | FY'17: 13500 | 0
SmithCo Super Rake | 2016 | 10+ | Good | 18000 | [10 empty] | 0
Kubota L4630 Front End Loader | 2019 | 10+ | Excellent | 44079.29 | FY'20: 44079.29 | 0
Aerial Lift (33') | 2004 | 10+ | Okay | 26270 | FY'22: 41000 | 41000 | *Revised Quote 10/6/20
Gehl Skid Steer | 2006 | 10+ | Okay | 22495 | FY' 23: 34000 | 34000
SUBTOTAL - B&G |  |  |  |  | 13500 | 0 | 0 | 44079.29 | 0 | 41000 | 51000 | 0 | 0 | 0 | 92000